## Slide 1
Classification results
Andrea Corrado
November 2024

## Slide 2: Outline
Envelope definition and analysis
Envelope features
Template matching definition and analysis
Template matching features
Short time Fourier transformation definition and analysis
Conclusions

## Slide 3: KB classifier V0 and V1: previous results
Of 847 signals:
663 are ineffective (MAP A, 78.28%);
94 are effective (MAP B, 11.1%);
90 are dangerous (MAP C, 10.63%);
KB V0: Atrial peak threshold
KB V1: atrial/ventricular ratio, th=0.5
KB V1: atrial/ventricular ratio, th=0.5

## Slide 4: Knowledge based classifier with envelope-based features
Is third peak >0.021?
MAP C
MAP A
No
No
Yes
Yes
Is peak_1_pos<0.49
MAP B
Is third peak >0.021?
MAP C
MAP A
No
No
Yes
Yes
Is atrial_ventricular_ratio >0.09?
MAP B
For each roving trace, use the envelope to evaluate active areas. Then:
Improved KB V0: peaks thresholds and position
Improved KB V1: peaks thresholds and atrial/ventricular ratio

## Slide 5: Knowledge based classifier with envelope-based features
Improved KB V0: peaks thresholds and position
Improved KB V1: peaks thresholds and atrial/ventricular ratio
Of 847 signals:
663 are ineffective (MAP A, 78.28%);
94 are effective (MAP B, 11.1%);
90 are dangerous (MAP C, 10.63%);
Improved KB V0: peaks thresholds and position

## Slide 6: Machine learning approach: tree classifier
Machine learning approaches allow to model data with statistical models trained on a set of features.
Rules and relationships are not a priori fixed
Possible deeper feature relationship evaluation
Possibility of finding new insights on data
…
Tree models are among the most easily explained, therefore the choice felt on them.
Mathematical rules are defined into each node to minimize the impurity of the following level
An “impurity measure” is required
Tuning the depth of the three is required
LOPOCV is used as validation technique
Tree classifiers
Tree 1: whole feature set
Tree 2: relevant feature set
Impurity measure: Cross entropy
Depth: maximising weighted f1 score
Impurity measure: Cross entropy
Depth: maximising weighted f1 score
Cross entropy definition
Weighted F1 score definition

## Slide 7: Feature selection: correlation matrix
To avoid the usage of features correlated between each other, correlation matrix has been computed.
A priori have been removed:
env_peak1_pos,env_peak2_pos,env_peak3_pos
env_peak1_val,env_peak2_val,env_peak3_val
silent_rateo,
cross_peak, cross_peak_pos, corr_energy, vent_corr_energy
energy_cross_atr_vent_ratio, energy_cross_atr_abs_max_ratio

## Slide 8: Feature selection: relative feature importance
The optimal subset of feature has been found using the training report of the models evaluated during LOPCV.
Tree 1: whole feature set
Tree 2: relevant feature subset

## Slide 9: Tree classifier: LOPOCV confusion matrix
Tree 1: whole feature set
Tree 2: relevant feature subset
Of 847 signals:
663 are ineffective (MAP A, 78.28%);
94 are effective (MAP B, 11.1%);
90 are dangerous (MAP C, 10.63%);

## Slide 10: Which is better?
Tree 2: relevant feature subset
Improved KB V0: peaks thresholds and position

## Slide 11: Is the model learning wrong?
What is learned here…
Has an impact here…
…and here

## Slide 12: How to improve learning?
Tree on subs 7->12 and LOPOCV (relevant feature set)
Tree on 70-30% train/test split (relevant feature set)
Of 148 signals:
70 are ineffective (MAP A);
38 are effective (MAP B);
40 are dangerous (MAP C);
Of 255 signals:
200 are ineffective (MAP A);
28 are effective (MAP B);
27 are dangerous (MAP C);

## Slide 13: Conclusions
Two classification methodologies have been shown:
(Improved) Knowledge based classifier: best model uses thresholds on peaks positions and values
Tree classifier: best model uses a subset of features from both envelope and template matching
But performance are still unsatisfactory.
It has been shown that tree classifier can be “fooled” by the presence of signs of dubious classification:
Train/test split doesn’t improve generalization
Dropping misleading subjects improves performance
Future proposes:
Understanding the reasons why there are unexpected signals into MAP A
Defining a new class (e.g., MAP_AB) which is a hybrid between MAP_A and MAP_B.